## 0Requisition_Tracking_Summary63
| Requisition Tracking Summary | Requisition Tracking Summary | Requisition Tracking Summary | Requisition Tracking Summary
| From 01-08-2020 To 24-12-2020 | From 01-08-2020 To 24-12-2020 | From 01-08-2020 To 24-12-2020 | From 01-08-2020 To 24-12-2020
| Page 1 of 2 | Page 1 of 2 | Page 1 of 2 | Page 1 of 2
| Total Records: 3666 Records 1 to 2000 | Total Records: 3666 Records 1 to 2000 | Total Records: 3666 Records 1 to 2000 | Total Records: 3666 Records 1 to 2000
Project | Material Name | Unit | Qty | App Qty
EELA PHASE-II | 0.5 HP 1 PH MONOBLOCK PUMP- HSN CODE 84137010 | Nos | 1 | 1
EELA PHASE-II | 1.3 MP BULLET CAMERA - HSN CODE 85258090 | Nos | 5 | 5
EELA PHASE-II | 16 AMP RCBOS DOUBLE POLE SENSITIVITY 30MA- HSN CODE 85362030 | Nos | 6 | 6
EELA PHASE-II | 16 CHANNEL DVR 1MP WITH 1HD SUPPORT- HSN CODE 85219090 | Nos | 1 | 1
EELA PHASE-II | 2 MP IR DOME CAMERA - HSN CODE 85258090 | Nos | 16 | 16
EELA PHASE-II | 20MM FLEXIBLE PIPE ELECT- HSN CODE 3917 | Rmt | 1500 | 1500
EELA PHASE-II | 25MM FLEXIBLE PIPE ELECT- HSN CODE 3917 | Rmt | 210 | 210
EELA PHASE-II | 3 PLUS 1 CCTV CABLE- HSN CODE 85442010 | Rmt | 2605 | 1905
EELA PHASE-II | 6 AMP BELL PUSH WITH INDICATOR -2 MODULE- HSN CODE 85365020 | Nos | 1 | 1
EELA PHASE-II | 6 AMP SOCKET- HSN CODE 85366910 | Nos | 114 | 114
EELA PHASE-II | 6 AMP SWITCH 1W-1MODULE- HSN CODE 85365020 | Nos | 228 | 228
EELA PHASE-II | 6 AMP SWITCH 2W-1MODULE- HSN CODE 85365020 | Nos | 12 | 12
EELA PHASE-II | 8 CHANNEL DVR TRIBAND 2MP SUPPORT- HSN CODE 85219090 | Nos | 1 | 1
EELA PHASE-II | AAC BLOCK 650MM X 240MM X 100MM- HSN CODE 6815 | Nos | 300 | 150
EELA PHASE-II | AAC BLOCK 650MM X 240MM X 150MM- HSN CODE 6815 | Nos | 11810 | 7510
EELA PHASE-II | AAC BLOCK 650MM X 240MM X 200MM- HSN CODE 6815 | Nos | 500 | 350
EELA PHASE-II | AIR FILTER ELEMENT - HSN CODE 84213100 | Nos | 1 | 1
EELA PHASE-II | AL RING TYPE LUGS 120 SQMM- HSN CODE 8536 | Nos | 40 | 40
EELA PHASE-II | AL RING TYPE LUGS 150 SQMM- HSN CODE 8536 | Nos | 20 | 20
EELA PHASE-II | AL RING TYPE LUGS 70 SQMM- HSN CODE 8536 | Nos | 20 | 20
EELA PHASE-II | AL RING TYPE LUGS 95 SQMM- HSN CODE 8536 | Nos | 20 | 20
EELA PHASE-II | ANCHOR FASTENER 10 X 100MM- HSN CODE 7318 | Nos | 390 | 390
EELA PHASE-II | ANCHOR FASTENER 10 X 75MM- HSN CODE 7318 | Nos | 224 | 112
EELA PHASE-II | ANGLO INDIAN COMMODE WITH SEAT COVER - HSN CODE 6910 | Nos | 2 | 1
EELA PHASE-II | ANIMAL MERRY GO ROUND- HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | ARMATURE FOR BREAKER 11KG- HSN CODE 8467 | Nos | 1 | 1
EELA PHASE-II | AWNING TENSILE FABRIC & SUN BLINDS - HSN CODE 6306 | Sqft | 4000 | 2000
EELA PHASE-II | BALANCING BEAMS (SET OF 3) - HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | BALL VALVE BRASS 1½"- HSN CODE 8481 | Nos | 1 | 1
EELA PHASE-II | BARICATION TAPE- HSN CODE -3926 | Rmt | 700 | 500
EELA PHASE-II | BEARING 6201- HSN CODE 8482 | Nos | 1 | 1
EELA PHASE-II | BEARING- HSN CODE 85030010 | Nos | 3 | 2
EELA PHASE-II | BLANKING PLATE - 1MODULE- HSN CODE 85381090 | Nos | 22 | 22
EELA PHASE-II | BLOCK FIXING MORTER- HSN CODE 38245090 | Kg | 43600.5 | 12000.25
EELA PHASE-II | BNC CONNECTOR : HSN CODE:85299090 | Nos | 42 | 42
EELA PHASE-II | BRICKS RED 9"L X 4"W X 3"H- HSN CODE 6904 | Nos | 66511.2 | 33255.6
EELA PHASE-II | BULB 60 WATTS- HSN CODE 8539 | Nos | 140 | 140
EELA PHASE-II | BULKHEAD FITTING OUTDOOR 8W- HSN CODE 9405 | Nos | 15 | 15
EELA PHASE-II | CABLE FOR BREAKER- 85446090 | Mtr | 3 | 3
EELA PHASE-II | CABLE JOINT KIT- HSN CODE 4005 | Nos | 2 | 2
EELA PHASE-II | CARBON BRUSH SET- HSN CODE 8545 | Nos | 1 | 1
EELA PHASE-II | CAT 6 CABLE- HSN CODE 8544 | Rmt | 915 | 915
EELA PHASE-II | CEMENT 43 GRADE OPC- HSN CODE 25232910 | Bag | 7491.3107 | 5420.5436
EELA PHASE-II | CEMENT BOARD -V BOARD 8 FT X 4 FT X 25MM- HSN CODE 6811 | Sqft | 1440 | 1440
EELA PHASE-II | CHAIN LINK 2" X 2" - (10 GAUGE GI WIRE) - HSN CODE 7210 | Sqft | 1000 | 1000
EELA PHASE-II | CONPLAST WL WATER PROOF COMPOUND - HSN CODE-38244090 | Ltr | 80 | 40
EELA PHASE-II | CONTROL CABLE FOR FLOAT SWITCH- HSN CODE 8536 | Mtr | 50 | 50
EELA PHASE-II | COOLENT- HSN CODE 38200000 | Ltr | 2 | 2
EELA PHASE-II | COPPER ARMOURED CABLE 10 SQMM X 4 CORE- HSN CODE 85446090 | Rmt | 510 | 170
EELA PHASE-II | COPPER ARMOURED CABLE 2.5 SQMM X 3 CORE- HSN CODE 85446090 | Rmt | 2880 | 960
EELA PHASE-II | COPPER ARMOURED CABLE 6 SQMM X 4 CORE- HSN CODE 85446090 | Rmt | 1020 | 340
EELA PHASE-II | COPPER FLEXIBLE CABLE 1.5 SQMM X 3 CORE- HSN CODE 8544 | Rmt | 100 | 100
EELA PHASE-II | COPPER FLEXIBLE CABLE 1.5 SQMM X 4 CORE- HSN CODE 8544 | Rmt | 100 | 100
EELA PHASE-II | COPPER FLEXIBLE CABLE 1.5 SQMM X 7 CORE- HSN CODE 8544 | Rmt | 70 | 70
EELA PHASE-II | COPPER FLEXIBLE CABLE 2.5 SQMM X 3 CORE- HSN CODE 85446090 | Rmt | 300 | 300
EELA PHASE-II | COPPER FLEXIBLE CABLE 2.5 SQMM X 4 CORE- HSN CODE 85446090 | Rmt | 400 | 400
EELA PHASE-II | COPPER FLEXIBLE CABLE 2.5 SQMM X 5 CORE- HSN CODE 85446090 | Rmt | 500 | 500
EELA PHASE-II | COPPER FLEXIBLE CABLE 6 SQMM X 4 CORE- HSN CODE 8544 | Rmt | 220 | 220
EELA PHASE-II | COPPER FLEXIBLE CABLE 70 SQMM X 1 CORE- HSN CODE 85446090 | Rmt | 200 | 100
EELA PHASE-II | COPPER LUGS 10.0 SQ MM PIN TYPE- HSN CODE 8536 | Nos | 250 | 250
EELA PHASE-II | COPPER LUGS 4.0 SQ MM RING TYPE- HSN CODE 8536 | Nos | 150 | 150
EELA PHASE-II | COPPER LUGS 6.0 SQ MM PIN TYPE- HSN CODE 8536 | Nos | 500 | 500
EELA PHASE-II | COPPER LUGS 6.0 SQ MM RING TYPE- HSN CODE 8536 | Nos | 80 | 80
EELA PHASE-II | COPPER WIRE 8 GAUGE- HSN CODE 74081990 | Kg | 96 | 96
EELA PHASE-II | CORD ARMER- HSN CODE 84679900 | Nos | 1 | 1
EELA PHASE-II | CORRUGATED TRAY FOR FLOWER POTS- HSN CODE 4819 | Nos | 178 | 178
EELA PHASE-II | CP BOTTLE TRAP EXTENSION PIPE- HSN CODE 7418 | Nos | 80 | 80
EELA PHASE-II | CPVC BRASS ELBOW 15MM(½")- HSN CODE 3917 | Nos | 48 | 24
EELA PHASE-II | CPVC BRASS ELBOW 20MM (¾")- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | CPVC BRASS MTA 40MM(1½")- HSN CODE 3917 | Nos | 4 | 2
EELA PHASE-II | CPVC ELBOW 15MM(½")- HSN CODE 3917 | Nos | 1232 | 908
EELA PHASE-II | CPVC END CAP 15MM(½")- HSN CODE 3917 | Nos | 312 | 312
EELA PHASE-II | CPVC PIPE 20MM(¾") X 3 MTR LONG- HSN CODE 3917 | Nos | 24 | 12
EELA PHASE-II | CPVC SOLVENT CEMENT 946 ML- HSN CODE 3506 | Nos | 10 | 5
EELA PHASE-II | CPVC TEE 15MM(½")- HSN CODE 3917 | Nos | 160 | 160
EELA PHASE-II | CPVC TEE 20MM(¾”)- HSN CODE 3917 | Nos | 45 | 15
EELA PHASE-II | CRUSH SAND- HSN CODE 2517 | Brass | 210.4024 | 191.4024
EELA PHASE-II | DB DOUBLE DOOR 12 WAY (SPN DB)- HSN CODE 85371000 | Nos | 2 | 1
EELA PHASE-II | DB SINGAL DOOR 12 WAY (SPN DB)- HSN CODE 85371000 | Nos | 2 | 2
EELA PHASE-II | DB SINGLE DOOR 8 WAY (TPN DB)- HSN CODE 85371000 | Nos | 2 | 2
EELA PHASE-II | DC CONNECTOR - S- HSN CODE 8536 | Nos | 26 | 26
EELA PHASE-II | DESIGNER TILE 300MM X 300MM X 25MM- HSN CODE 68101110 | Sqft | 10800 | 10800
EELA PHASE-II | DG DISTRIBUTION PANEL 400A - HSN CODE 8537 | Nos | 1 | 1
EELA PHASE-II | DIESEL FILTER CARTIDGE- HSN CODE 84212900 | Nos | 1 | 1
EELA PHASE-II | DIESEL- HSN CODE 997212 | Ltr | 6600 | 5400
EELA PHASE-II | DISTILLED WATER- HSN CODE 28530010 | Ltr | 8 | 8
EELA PHASE-II | DOOR BELL- HSN CODE 8531 | Nos | 1 | 1
EELA PHASE-II | DRINKING WATER (20 LTR. JAR)- HSN CODE 2201 | Nos | 800 | 500
EELA PHASE-II | ELECTRICAL SUB METER (SINGLE PHASE) - HSN CODE 9028 | Nos | 2 | 2
EELA PHASE-II | ELECTRICAL SUB METER (THREE PHASE) - HSN CODE 9028 | Nos | 2 | 2
EELA PHASE-II | END PROFILE FOR WOODEN FLOORING- HSN CODE 4418 | Rft | 32 | 0
EELA PHASE-II | ENGINE OIL 15W 40- HSN CODE 27101980 | Ltr | 35 | 35
EELA PHASE-II | EWC WALL HUNG SOFTCLOSE SEAT & COVER- HSN CODE 39222000 | Nos | 2 | 2
EELA PHASE-II | FASTENER 120 X 12 - HSN CODE 7318 | Nos | 60 | 20
EELA PHASE-II | FASTENER 60 X 8- HSN CODE 7318 | Nos | 280 | 100
EELA PHASE-II | FLAT CABLE 2.5 SQ MM X 3 CORE- HSN CODE 85446090 | Rmt | 10 | 10
EELA PHASE-II | FLEXIBLE SUPPLY CABLE 0.75SQ.MM X 2CORE- HSN CODE 8544 | Rmt | 15 | 15
EELA PHASE-II | FLOAT SWITCH- HSN CODE 8536 | Nos | 2 | 2
EELA PHASE-II | FLY ASH BRICKS 9"L X 4"W X 3"H- HSN CODE 6815 | Nos | 46625.561 | 46625.561
EELA PHASE-II | FR HOUSE WIRE 1 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 14700 | 14700
EELA PHASE-II | FR HOUSE WIRE 1 SQ MM(BLUE COLOUR)- HSN CODE 85446090 | Rmt | 4500 | 4500
EELA PHASE-II | FR HOUSE WIRE 1 SQ MM(GREEN COLOUR)- HSN CODE 85446090 | Rmt | 16500 | 16500
EELA PHASE-II | FR HOUSE WIRE 1 SQ MM(YELLOW COLOUR)- HSN CODE 85446090 | Rmt | 34800 | 34800
EELA PHASE-II | FR HOUSE WIRE 1.5 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 19200 | 19200
EELA PHASE-II | FR HOUSE WIRE 1.5 SQ MM(GREEN COLOUR)- HSN CODE 85446090 | Rmt | 6900 | 6900
EELA PHASE-II | FR HOUSE WIRE 1.5 SQ MM(RED COLOUR)- HSN CODE 85446090 | Rmt | 21000 | 21000
EELA PHASE-II | FR HOUSE WIRE 10 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 3200 | 3200
EELA PHASE-II | FR HOUSE WIRE 10 SQ MM(BLUE COLOUR)- HSN CODE 85446090 | Rmt | 3200 | 3200
EELA PHASE-II | FR HOUSE WIRE 10 SQ MM(RED COLOUR)- HSN CODE 85446090 | Rmt | 3200 | 3200
EELA PHASE-II | FR HOUSE WIRE 10 SQ MM(YELLOW COLOUR)- HSN CODE 85446090 | Rmt | 3200 | 3200
EELA PHASE-II | FR HOUSE WIRE 2.5 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 6300 | 6300
EELA PHASE-II | FR HOUSE WIRE 2.5 SQ MM(BLUE COLOUR)- HSN CODE 85446090 | Rmt | 9900 | 3300
EELA PHASE-II | FR HOUSE WIRE 2.5 SQ MM(GREEN COLOUR)- HSN CODE 85446090 | Rmt | 8700 | 8700
EELA PHASE-II | FR HOUSE WIRE 2.5 SQ MM(YELLOW COLOUR)- HSN CODE 85446090 | Rmt | 4200 | 4200
EELA PHASE-II | FR HOUSE WIRE 4 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 8400 | 5600
EELA PHASE-II | FR HOUSE WIRE 4 SQ MM(BLUE COLOUR )- HSN CODE 85446090 | Rmt | 4800 | 4800
EELA PHASE-II | FR HOUSE WIRE 4 SQ MM(GREEN COLOUR)- HSN CODE 85446090 | Rmt | 2400 | 2400
EELA PHASE-II | FR HOUSE WIRE 4 SQ MM(YELLOW COLOUR)- HSN CODE 85446090 | Rmt | 5800 | 5800
EELA PHASE-II | FR HOUSE WIRE 6 SQ MM(BLACK COLOUR)- HSN CODE 85446090 | Rmt | 2800 | 2800
EELA PHASE-II | FR HOUSE WIRE 6 SQ MM(BLUE COLOUR)- HSN CODE 85446090 | Rmt | 2000 | 2000
EELA PHASE-II | FR HOUSE WIRE 6 SQ MM(GREEN COLOUR)- HSN CODE 85446090 | Rmt | 3200 | 3200
EELA PHASE-II | FR HOUSE WIRE 6 SQ MM(RED COLOUR )- HSN CODE 85446090 | Rmt | 2000 | 2000
EELA PHASE-II | FR HOUSE WIRE 6 SQ MM.(YELLOW COLOUR)- HSN CODE 85446090 | Rmt | 2000 | 2000
EELA PHASE-II | FRP LOUVER - 1330 X 75 X 25MM- HSN CODE -70199090 | Nos | 210 | 210
EELA PHASE-II | FRP LOUVER - 2030 X 75 X 25MM- HSN CODE -70199090 | Nos | 280 | 280
EELA PHASE-II | FRP PLAYSTATION 2BUTTERFLY+2FLOWER(BIG KID)- HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | FRP PLAYSTATION 2BUTTERFLY+2FLOWER(SMALL KID)- HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | FUEL FILTER ELEMENT ASSLY- HSN CODE 84212900 | Nos | 1 | 1
EELA PHASE-II | GI BARREL NIPPLE ½" X 2"- HSN CODE 7307 | Nos | 32 | 32
EELA PHASE-II | GI BARREL NIPPLE ½" X 6"- HSN CODE 7307 | Nos | 32 | 32
EELA PHASE-II | GI BARREL NIPPLE 1½" X 12"- HSN CODE 73079210 | Nos | 4 | 4
EELA PHASE-II | GI BARREL NIPPLE 1½" X 9"- HSN CODE 73079210 | Nos | 4 | 4
EELA PHASE-II | GI EARTHING ROD 80MM X 1 MTR- HSN CODE 8544 | Nos | 3 | 3
EELA PHASE-II | GI EARTHING ROD 80MM X 2 MTR- HSN CODE 8544 | Nos | 18 | 18
EELA PHASE-II | GI EARTHING ROD 80MM X 3 MTR- HSN CODE 8544 | Nos | 3 | 3
EELA PHASE-II | GI ELBOW ½”- HSN CODE 7307 | Nos | 25 | 25
EELA PHASE-II | GI ELBOW 1½”- HSN CODE 7307 | Nos | 17 | 17
EELA PHASE-II | GI NUT BOLTS WITH WASHER 8MM X 40MM (1.5")- HSN CODE 7318 | Kg | 4.156 | 4.156
EELA PHASE-II | GI NUT BOLTS WITH WASHER 8MM X 50MM- HSN CODE 7318 | Kg | 96 | 48
EELA PHASE-II | GI NUT BOLTS WITH WASHER 8MM X 63MM (2.5")- HSN CODE 7318 | Kg | 5.544 | 5.544
EELA PHASE-II | GI NUT BOLTS WITH WASHER 8MM X 75MM (3")- HSN CODE 7318 | Kg | 96 | 48
EELA PHASE-II | GI PIPE 1½"(40MM C CLASS )- HSN CODE 7306 | Rmt | 870 | 450
EELA PHASE-II | GI SADDLE 20MM- HSN CODE 7307 | Nos | 720 | 720
EELA PHASE-II | GI SADDLE 25MM- HSN CODE 7307 | Nos | 1152 | 1152
EELA PHASE-II | GI SOCKET 1½”- HSN CODE 7307 | Nos | 6 | 6
EELA PHASE-II | GI TEE ½”- HSN CODE 7307 | Nos | 32 | 32
EELA PHASE-II | GI U CLAMP ½" WITH NUT & WASHER- HSN CODE 7318 | Nos | 60 | 30
EELA PHASE-II | GI U CLAMP 1" WITH NUT & WASHER- HSN CODE 7318 | Nos | 110 | 55
EELA PHASE-II | GI U CLAMP 1¼" WITH NUT & WASHER- HSN CODE 7318 | Nos | 400 | 200
EELA PHASE-II | GI U CLAMP 1½" WITH NUT & WASHER- HSN CODE 7318 | Nos | 800 | 400
EELA PHASE-II | GI U CLAMP 2" WITH NUT & WASHER- HSN CODE 7318 | Nos | 300 | 150
EELA PHASE-II | GI WALL Z BRACKET 32X50X32X4' LONG(2MM THK)- HSN CODE 7216 | Nos | 576 | 476
EELA PHASE-II | GI WALL Z BRACKET 32X75X32X4' LONG(2MM THK)- HSN CODE 7216 | Nos | 120 | 40
EELA PHASE-II | GI WASHER 16MM- HSN CODE 7318 | Kg | 1 | 1
EELA PHASE-II | GRASS PAVER 300MM X 400MM X 80MM- HSN CODE 68101110 | Sqft | 2570 | 2570
EELA PHASE-II | GREASE 125GM FOR BREAKER- HSN CODE 3403 | Pkt | 1 | 1
EELA PHASE-II | GREEN HOSE PIPE 3"- HSN CODE 3917 | Rmt | 60 | 60
EELA PHASE-II | GUM BOOT- HSN CODE 6402 | Pair | 7 | 7
EELA PHASE-II | GYPSUM ELITE 100- HSN CODE 25202010 | MT | 96.11 | 96.055
EELA PHASE-II | HALOGEN TUBE 500 WATTS- HSN CODE 8539 | Nos | 50 | 50
EELA PHASE-II | HARD DISK- HSN CODE 84717020 | Nos | 1 | 1
EELA PHASE-II | HINGES SS PIN TYPE 4”X1”X2.5MM (RAILWAY)- HSN CODE 83021090 | Nos | 39 | 39
EELA PHASE-II | HOLDTITE- HSN CODE 3214 | Kg | 0.5 | 0.5
EELA PHASE-II | IMPACT SPRINKLER POPUP 805- HSN CODE 8424 | Nos | 28 | 28
EELA PHASE-II | INDUSTRIAL TUBE LIGHT FITTINGS 36 WATT- HSN CODE 9405 | Nos | 12 | 12
EELA PHASE-II | INSULATION TAPE- HSN CODE 8546 | Nos | 504 | 502
EELA PHASE-II | ISA 35 X 35 X 4MM - MS ANGLE - HSN CODE 7216 | Kg | 819 | 819
EELA PHASE-II | KADAPPA M/C DOUBLE POLISH- HSN CODE 6802 | Sqft | 180 | 60
EELA PHASE-II | KADAPPA M/C SINGLE POLISH- HSN CODE 6802 | Sqft | 1460 | 365
EELA PHASE-II | LAPTOP ADAPTER - HSN CODE 85044090 | Nos | 1 | 1
EELA PHASE-II | LAPTOP POWER SUPPLY CABLE - HSN CODE 85444999 | Nos | 1 | 1
EELA PHASE-II | LATERAL PIPE 16MM TUBE (INLINE)- HSN CODE 8424 | Mtr | 1000 | 1000
EELA PHASE-II | LATERAL PIPE 16MM TUBE (PLAIN)- HSN CODE 8424 | Mtr | 200 | 100
EELA PHASE-II | LED FLOOD LIGHT FITTING 50 WT- HSN CODE 9405 | Nos | 4 | 4
EELA PHASE-II | LIGHTNING ARRESTOR- HSN CODE 8535 | Set | 2 | 1
EELA PHASE-II | LOOP SCRAMBLER- HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | MARBLE CHIPS - HSN CODE 2517 | Kg | 15017 | 12997
EELA PHASE-II | MCB 25 AMP FP- HSN CODE 85362030 | Nos | 4 | 4
EELA PHASE-II | MCB 32 AMP FP- HSN CODE 85362030 | Nos | 2 | 2
EELA PHASE-II | MDF BOARDS 8FT X 4FT X 6MM- HSN CODE 4411 | Sqft | 256 | 128
EELA PHASE-II | MECHANICAL SEAL - HSN CODE 8484 | Nos | 1 | 1
EELA PHASE-II | METAL 20MM- HSN CODE 2517 | Brass | 6 | 6
EELA PHASE-II | METAL BULKHEAD FITTING FOR 60 WATT BULB- HSN CODE 9405 | Nos | 290 | 116
EELA PHASE-II | MICRO CONTROLER- HSN CODE 85364100 | Nos | 2 | 1
EELA PHASE-II | MIXIL (WATERPROOF COMPUND) - HSN CODE 2902 | Ltr | 80 | 80
EELA PHASE-II | MOTOR BUSHING - HSN CODE 7419 | Nos | 2 | 2
EELA PHASE-II | MOTOR COVER - HSN CODE 8503 | Nos | 2 | 2
EELA PHASE-II | MOTOR REWINDING - HSN CODE 8544 | JOB | 1 | 1
EELA PHASE-II | MS FLAT 12 X 3MM- HSN CODE 7211 | MT | 0.04 | 0.04
EELA PHASE-II | MS FLAT 25 X 5MM- HSN CODE 7211 | MT | 0.571 | 0.439
EELA PHASE-II | MS FLAT 30 X 3MM- HSN CODE 7211 | MT | 0.72 | 0.48
EELA PHASE-II | MS RECTANGULAR HOLLOW SECTION 25MMX12MMX2MM- HSN CODE 7303 | Kg | 375.65 | 375.65
EELA PHASE-II | MS ROUND BAR - 8MM - HSN CODE 7214 | Kg | 135 | 135
EELA PHASE-II | MS SCREW 8 X 35 HALF THREAD- HSN CODE 7318 | Box | 26 | 26
EELA PHASE-II | MS SQUARE BAR 12MM- HSN CODE 7215 | MT | 8.528 | 5.584
EELA PHASE-II | MS SQUARE TUBE 100MM X 100MM X 3MM- HSN CODE 7303 | Kg | 1153 | 1153
EELA PHASE-II | MS SQUARE TUBE 40 X 20 X 2MM- HSN CODE -7306 | Kg | 3048 | 3048
EELA PHASE-II | MS SQUARE TUBE 60MM X 40MM X 2MM- HSN CODE 7303 | Kg | 2880 | 2880
EELA PHASE-II | NET ROCK CLIMBER (1.5M HEIGHT)- HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | NON RETURN VALVE 40MM(1½")- HSN CODE 8481 | Nos | 6 | 6
EELA PHASE-II | NOSE MASK 6 LAYERS (W95)- HSN CODE 9020 | Nos | 30 | 30
EELA PHASE-II | OIL SEAL - HSN CODE 8484 | Nos | 1 | 1
EELA PHASE-II | ORISSA PAN 23 INCH -HSN CODE 6910 | Nos | 2 | 1
EELA PHASE-II | PAD LOCK 65MM- HSN CODE -8302 | Nos | 20 | 20
EELA PHASE-II | PAPER ROLL FOR TOWEL DISPENSER- HSN CODE -48182000 | Roll | 12 | 12
EELA PHASE-II | PARAMOUNT LED FITTING 45 WATT - HSN CODE 9405 | Nos | 2 | 1
EELA PHASE-II | PERMA NO DAMP PAINT (WATERPROOFING COATING) HSN CODE -3209 | Ltr | 100 | 100
EELA PHASE-II | PLANT- CHLOROPHYTUM - HSN CODE 60499 | Nos | 175 | 175
EELA PHASE-II | PLANT- MONEYPLANT (PHILODENDRON GREEN) - HSN CODE 60499 | Nos | 175 | 175
EELA PHASE-II | PLANT- ROSE KASHMIRI DWARF -HSN CODE 60499 | Nos | 175 | 175
EELA PHASE-II | PLANT- TULSI - HSN CODE 60499 | Nos | 175 | 175
EELA PHASE-II | PLASTIC POT - STERLING NO.2 ( OFF WHITE )- HSN CODE 3924 | Nos | 1400 | 700
EELA PHASE-II | PLASTIC SPRAY BOTTLE 200ML- HSN CODE 3926 | Nos | 20 | 20
EELA PHASE-II | PLUMBING NAILS 1½"- HSN CODE 7317 | Kg | 16 | 8
EELA PHASE-II | PLUMBING NAILS 2"- HSN CODE 7317 | Kg | 4 | 4
EELA PHASE-II | PLUMBING NAILS 2½"- HSN CODE 7317 | Kg | 48 | 24
EELA PHASE-II | POLY FITTING 16MM ELBOW- HSN CODE 8424 | Nos | 200 | 200
EELA PHASE-II | POLY FITTING 16MM END CAP- HSN CODE 8424 | Nos | 200 | 200
EELA PHASE-II | POLY FITTING 16MM GROMMET- HSN CODE 8424 | Nos | 200 | 200
EELA PHASE-II | POLY FITTING 16MM JOINER- HSN CODE 8424 | Nos | 300 | 300
EELA PHASE-II | POLY FITTING 16MM TAKE OFF- HSN CODE 8424 | Nos | 200 | 200
EELA PHASE-II | POLY FITTING 16MM TEE- HSN CODE 8424 | Nos | 200 | 200
EELA PHASE-II | POLY FITTING DRIPPER (8LPH) - HSN CODE 8424 | Nos | 600 | 200
EELA PHASE-II | POWER SUPPLY- HSN CODE 9032 | Nos | 2 | 1
EELA PHASE-II | PRESSURE REDUCING VALVES( PRV )BRASS 2"- HSN CODE 3917 | Nos | 6 | 3
EELA PHASE-II | PRESSURE REDUCING VALVES( PRV )BRASS ¾"- HSN CODE 3917 | Nos | 2 | 1
EELA PHASE-II | PRESSURE TRANSMITTER FOR PUMP- HSN CODE 9032 | Nos | 3 | 1
EELA PHASE-II | PRINTER CARTRIDGE BLACK - HSN CODE 8443 | Nos | 4 | 4
EELA PHASE-II | PULSE OXIMETER (BATCH-LL)- HSN CODE 90189019 | Nos | 1 | 1
EELA PHASE-II | PUMP REWINDING - HSN CODE 85030010 | Nos | 2 | 1
EELA PHASE-II | PVC BALL VALVE 40MM 1.25" SINGLE UNION SELFIT- HSN CODE 3917 | Nos | 45 | 15
EELA PHASE-II | PVC BALL VALVE 50MM 1.5" SINGLE UNION SELFIT- HSN CODE 3917 | Nos | 12 | 4
EELA PHASE-II | PVC CABLE GLAND 25 MM- HSN CODE 8536 | Nos | 180 | 180
EELA PHASE-II | PVC CABLE TIE 200MM- HSN CODE 3926 | Pkt | 56 | 56
EELA PHASE-II | PVC CONDUIT PIPE 25MM- HSN CODE 39172310 | Mtr | 5800 | 5800
EELA PHASE-II | PVC CONNECTOR STRIP 30AMP 12WAY - HSN CODE 8536 | Nos | 120 | 60
EELA PHASE-II | PVC ELBOW 40MM (1.25") (SELFIT)- HSN CODE 3917 | Nos | 60 | 60
EELA PHASE-II | PVC ELBOW 40MM(1¼")- HSN CODE 3917 | Nos | 236 | 156
EELA PHASE-II | PVC ELBOW 50MM (1.5") (SELFIT)- HSN CODE 3917 | Nos | 20 | 20
EELA PHASE-II | PVC ELBOW 50MM(1½") (- HSN CODE 3917) | Nos | 20 | 20
EELA PHASE-II | PVC ENDCAP 40MM (1.25") PLAIN (SELFIT)- HSN CODE 3917 | Nos | 20 | 20
EELA PHASE-II | PVC ENDCAP 40MM (1.25") THREADED (SELFIT)- HSN CODE 3917 | Nos | 30 | 10
EELA PHASE-II | PVC ENDCAP 50MM (1.5") THREADED (SELFIT)- HSN CODE 3917 | Nos | 5 | 5
EELA PHASE-II | PVC FTA 40MM (1.25") (SELFIT)- HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC FTA 50MM (1.5") (SELFIT)- HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC MTA 40MM (1.25") (SELFIT)- HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC MTA 50MM (1.5") (SELFIT)- HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC MULTI FLOOR TRAP 4"- HSN CODE 3917 | Nos | 66 | 66
EELA PHASE-II | PVC PIPE 40MM 1.25" X 6KG (SELFIT)- HSN CODE 3917 | Mtr | 1004 | 604
EELA PHASE-II | PVC PIPE 50MM 1.5" X 6KG (SELFIT)- HSN CODE 3917 | Mtr | 100 | 100
EELA PHASE-II | PVC PLUG BEND 75MM(2½")- HSN CODE 3917 | Nos | 264 | 132
EELA PHASE-II | PVC REDUCER BUSHING 40MM(1¼") X 50MM(1½")- HSN CODE 3917 | Nos | 20 | 20
EELA PHASE-II | PVC REDUCER SINGLE Y 110MM X 75MM- HSN CODE 3917 | Nos | 198 | 66
EELA PHASE-II | PVC REDUCER SINGLE Y 160MM X 110MM- HSN CODE 3917 | Nos | 198 | 66
EELA PHASE-II | PVC REDUCER SOCKET 50MM 1.5"X40MM 1.25" SELFIT-HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC SERVICE SADDLE 40MM X 20MM (SELFIT) - HSN CODE 39174000 | Nos | 15 | 15
EELA PHASE-II | PVC SERVICE SADDLE 50MM X 15MM (SELFIT) -HSN CODE 39174000 | Nos | 30 | 30
EELA PHASE-II | PVC SHOE 110MM(4")- HSN CODE 3917 | Nos | 55 | 55
EELA PHASE-II | PVC SHOE 40MM(1¼")- HSN CODE 3917 | Nos | 34 | 34
EELA PHASE-II | PVC SHOE 50MM(1½")- HSN CODE 3917 | Nos | 20 | 20
EELA PHASE-II | PVC SHOE 75MM(2½")- HSN CODE 3917 | Nos | 80 | 40
EELA PHASE-II | PVC SOCKET 40MM (1.25") (SELFIT)- HSN CODE 3917 | Nos | 30 | 30
EELA PHASE-II | PVC SOCKET 50MM (1.5") (SELFIT)- HSN CODE 3917 | Nos | 20 | 20
EELA PHASE-II | PVC SOLUTION (901) 1000ML - HSN CODE 3506 | Nos | 2 | 2
EELA PHASE-II | PVC SOLVENT CEMENT 1000ML- HSN CODE 3506 | Nos | 2 | 1
EELA PHASE-II | PVC SWR D/S PIPE 110MM(4") X 6FT- HSN CODE 3917 | Nos | 30 | 30
EELA PHASE-II | PVC SWR S/S PIPE 40MM(1¼") X 3MTR- HSN CODE 3917 | Nos | 4 | 4
EELA PHASE-II | PVC SWR S/S PIPE 50MM(1½") X 3 MTR- HSN CODE 3917 | Nos | 15 | 15
EELA PHASE-II | PVC SWR S/S PIPE 75MM(2½") X 3 MTR- HSN CODE 3917 | Nos | 4 | 4
EELA PHASE-II | PVC TEE 40MM (1.25") (SELFIT)- HSN CODE 3917 | Nos | 40 | 40
EELA PHASE-II | PVC TEE 50MM (1.5") (SELFIT)- HSN CODE 3917 | Nos | 10 | 10
EELA PHASE-II | PVC VALVE BOX 6"- HSN CODE 8424 | Nos | 39 | 13
EELA PHASE-II | RAWAL PLUG (WOOD) 35 X 8- HSN CODE 3926 | Pkt | 50 | 50
EELA PHASE-II | RCC JALI 635MM X 715MM- HSN CODE 68109100 | Sqft | 391.2928 | 195.6464
EELA PHASE-II | READY MIX PLASTER - HSN CODE 3824 | MT | 445.4698 | 342.4698
EELA PHASE-II | REDUCER FOR WOODEN FLOORING- HSN CODE 4418 | Rft | 16 | 0
EELA PHASE-II | RIVER SAND CHAAL : HSN CODE 2505 | Brass | 3.3006 | 3.2869
EELA PHASE-II | RIVER SAND- HSN CODE 2505 | Brass | 200.986 | 193.714
EELA PHASE-II | RMC M-15- HSN CODE 38245010 | Cum | 315 | 245
EELA PHASE-II | RMC M-20- HSN CODE 38245010 | Cum | 401 | 225
EELA PHASE-II | RUBBER HAND GLOVES (USE AND THROUGH) - HSN CODE 4015 | Pair | 2550 | 2250
EELA PHASE-II | RUBBER HAND GLOVES FOR ACID WASH- HSN CODE 4015 | Nos | 15 | 15
EELA PHASE-II | S S SCREW 25 X 6 F/T- HSN CODE 7318 | Box | 10 | 10
EELA PHASE-II | S S SCREW 35 X 8- HSN CODE 7318 | Box | 10 | 10
EELA PHASE-II | S S SCREW 38 X 6 F/T- HSN CODE 7318 | Box | 36 | 36
EELA PHASE-II | SAFETY JACKET ORANGE - HSN CODE 6203 | Nos | 20 | 20
EELA PHASE-II | SAFETY SHOES- HSN CODE 6403 | Pair | 12 | 12
EELA PHASE-II | SANITIZER LIQUID HSN CODE : 3004 | Ltr | 110 | 110
EELA PHASE-II | SCREW 6 X 19 FULL THREAD- HSN CODE 7318 | Box | 8 | 8
EELA PHASE-II | SCREW 6 X 50 FULL THREAD- HSN CODE 7318 | Box | 16 | 16
EELA PHASE-II | SCREW 6 X 75 FULL THREAD- HSN CODE 7318 | Box | 12 | 12
EELA PHASE-II | SCREW HALF THREAD 75 X 8- HSN CODE 7318 | Pkt | 15 | 15
EELA PHASE-II | SELF TAPPING SCREW 1"- HSN CODE 7318 | Nos | 1910 | 1910
EELA PHASE-II | SERVER RACK 4U (LOCK & SPIKE GUARD WITH FAN) -HSN CODE 8473 | Nos | 1 | 1
EELA PHASE-II | SKIRTING FOR WOODEN FLOORING- HSN CODE 4411 | Rft | 72 | 0
EELA PHASE-II | SMPS 10 AMP 10 AMP 12 V- HSN CODE 85044090 | Nos | 1 | 1
EELA PHASE-II | SMPS 5 AMP MICRO POWER- HSN CODE 85044090 | Nos | 1 | 1
EELA PHASE-II | SPIN ON DIESEL FILTER - HSN CODE 84212300 | Nos | 2 | 2
EELA PHASE-II | SPIN ON FILTER FOR LUBRICATING - HSN CODE 84212300 | Nos | 3 | 3
EELA PHASE-II | STANDARD SEA SAW- - HSN CODE 9506 | Set | 2 | 1
EELA PHASE-II | SURFACE MOUNTED 12W LED FITTING-ID-2767- HSN CODE 94054090 | Nos | 1 | 1
EELA PHASE-II | SURFACE PANEL LED LIGHT FITTING 15W/3000K- HSN CODE 9405 | Nos | 326 | 326
EELA PHASE-II | SWING JOINT 1/2"- HSN CODE 8424 | Nos | 28 | 28
EELA PHASE-II | TANDOOR- HSN CODE 2516 | Sqft | 768 | 768
EELA PHASE-II | TEFLON TAPE- HSN CODE 3920 | Nos | 36 | 36
EELA PHASE-II | TELEPHONE CABLE 2 PAIR 0.5 MM- HSN CODE 85444992 | Rmt | 3800 | 3800
EELA PHASE-II | TELEPHONE CABLE 4 PAIR 0.5 MM- HSN CODE 85444992 | Rmt | 7800 | 7800
EELA PHASE-II | THERMOMETER (FOR BODY TEMPERATURE) - HSN CODE 9025 | Nos | 2 | 2
EELA PHASE-II | TILE FIANDRE 3000MM X 1500MM – HSN CODE 69072100 | Sqft | 145.31 | 145.31
EELA PHASE-II | TMT STEEL 08MM- HSN CODE 7214 | MT | 0.3 | 0.3
EELA PHASE-II | TMT STEEL 10MM- HSN CODE 7214 | MT | 0.24 | 0.24
EELA PHASE-II | TMT STEEL 12MM- HSN CODE 7214 | MT | 0.22 | 0.22
EELA PHASE-II | TRANSFORMER OIL CONFIRMING TO IS :335- HSN CODE 2710 | Ltr | 200 | 200
EELA PHASE-II | TRIMBLE SKETCHUP CLASSIC 2020 - HSN CODE 8523 | Nos | 1 | 1
EELA PHASE-II | UPVC ADHESIVE SOLUTION(717) 500 ML- HSN CODE 3917 | Nos | 1 | 1
EELA PHASE-II | UPVC ADHESIVE SOLUTION(717) 946 ML- HSN CODE 3917 | Nos | 20 | 15
EELA PHASE-II | UPVC BALL VALVE ½"(15MM)- HSN CODE 3917 | Nos | 100 | 50
EELA PHASE-II | UPVC BALL VALVE ¾"(20MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC BALL VALVE 1"(25MM)- HSN CODE 3917 | Nos | 10 | 5
EELA PHASE-II | UPVC BALL VALVE 1¼"(32MM)- HSN CODE 3917 | Nos | 128 | 64
EELA PHASE-II | UPVC BALL VALVE 2"(50MM)- HSN CODE 3917 | Nos | 24 | 12
EELA PHASE-II | UPVC ELBOW ½"(15MM)- HSN CODE 3917 | Nos | 150 | 75
EELA PHASE-II | UPVC ELBOW ¾"(20MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC ELBOW 1"(25MM)- HSN CODE 3917 | Nos | 24 | 17
EELA PHASE-II | UPVC ELBOW 1¼"(32MM)- HSN CODE 3917 | Nos | 253 | 101
EELA PHASE-II | UPVC ELBOW 1½"(40MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC ELBOW 2"(50MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC END CAP ½"(15MM)- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | UPVC MALE ADAPTER BRASS THREADED ¾"(20MM)- HSN CODE 3917 | Nos | 90 | 90
EELA PHASE-II | UPVC MALE ADAPTER BRASS THREADED 1"(25MM)- HSN CODE 3917 | Nos | 54 | 27
EELA PHASE-II | UPVC PIPE ( 3MTR ) ¾" ( 20MM )- HSN CODE 3917 | Nos | 48 | 24
EELA PHASE-II | UPVC PIPE(3MTR) ½"(15MM)- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | UPVC PIPE(3MTR) 1"(25MM)- HSN CODE 3917 | Nos | 18 | 9
EELA PHASE-II | UPVC PIPE(3MTR) 1½"(40MM)- HSN CODE 3917 | Nos | 90 | 45
EELA PHASE-II | UPVC PIPE(3MTR) 2"(50MM)- HSN CODE 3917 | Nos | 288 | 144
EELA PHASE-II | UPVC PIPE(3MTR) 2½"(65MM)- HSN CODE 3917 | Nos | 120 | 60
EELA PHASE-II | UPVC REDUCER SOCKET ¾"(20MM) X ½"(15MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC REDUCER SOCKET 1"(25MM) X ¾"(20MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC REDUCER SOCKET 1"(25MM) X 1¼"(32MM)- HSN CODE 3917 | Nos | 10 | 5
EELA PHASE-II | UPVC REDUCER SOCKET 1½"(40MM) X 1¼"(32MM)- HSN CODE 3917 | Nos | 6 | 3
EELA PHASE-II | UPVC REDUCER SOCKET 2"(50MM) X 1½"(40MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC REDUCER TEE ¾"(20MM) X ½"(15MM)- HSN CODE 3917 | Nos | 30 | 15
EELA PHASE-II | UPVC REDUCER TEE 1"(25MM) X ½"(15MM)- HSN CODE 3917 | Nos | 60 | 30
EELA PHASE-II | UPVC REDUCER TEE 1¼"(32MM) X ½"(15MM)- HSN CODE 3917 | Nos | 80 | 40
EELA PHASE-II | UPVC REDUCER TEE 1½"(40MM) X ½"(15MM)- HSN CODE 3917 | Nos | 50 | 25
EELA PHASE-II | UPVC REDUCER TEE 1½"(40MM) X 1¼"(32MM)- HSN CODE 3917 | Nos | 36 | 18
EELA PHASE-II | UPVC REDUCER TEE 2"(50MM) X 1¼"(32MM)- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | UPVC REDUCER TEE 2½" X 1¼"- HSN CODE 3917 | Nos | 60 | 30
EELA PHASE-II | UPVC REDUCER TEE 3"(75MM) X 1"(25MM)- HSN CODE 3917 | Nos | 2 | 1
EELA PHASE-II | UPVC SOCKET/COUPLING ½"(15MM)- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | UPVC TEE ½"(15MM)- HSN CODE 3917 | Nos | 20 | 10
EELA PHASE-II | UPVC TEE ¾"(20MM)- HSN CODE 3917 | Nos | 50 | 25
EELA PHASE-II | UPVC TEE 1"(25MM)- HSN CODE 3917 | Nos | 40 | 20
EELA PHASE-II | UPVC TEE 1½"(40MM)- HSN CODE 3917 | Nos | 36 | 18
EELA PHASE-II | UPVC UNION 1"(25MM)- HSN CODE 3917 | Nos | 2 | 2
EELA PHASE-II | UPVC UNION 3"(80MM)- HSN CODE 3917 | Nos | 1 | 1
EELA PHASE-II | USB COMBO SET (KEY BOARD & MOUSE)- HSN CODE 8471 | Set | 6 | 6
EELA PHASE-II | VITRIFIED TILE 600MM X 600MM MILOST TUSK- HSN CODE 69072100 | Sqft | 5913.2 | 5901.6
EELA PHASE-II | VITRIFIED TILE 600MMX1200MM TAVETTI BEIGE- HSN CODE 69072100 | Sqft | 2077 | 2077
EELA PHASE-II | VITRIFIED TILE 600MMX600MM SPRENZA WHITE-HSN CODE 69072100 | Sqft | 155 | 155
EELA PHASE-II | WALL HUNG EWC WITH SEAT & COVER- HSN CODE 69101000 | Nos | 1 | 1
EELA PHASE-II | WALL HUNG EWC WITH WASHDOWN FLUSHING- HSN CODE 69101000 | Nos | 2 | 2
EELA PHASE-II | WALL TILE 600MM X 300MM (LT) GARLAND BR- HSN CODE 69072300 | Sqft | 932.52 | 930.96
EELA PHASE-II | WALLNUT BROWN GRANITE- HSN CODE 6802 | Sqft | 7416 | 1854
EELA PHASE-II | WATER LEVEL CONTROLLER - HSN CODE 8537 | Nos | 2 | 2
EELA PHASE-II | WATER METER 40MM (1½")- HSN CODE 8481 | Nos | 6 | 6
EELA PHASE-II | WATER TANKER 10000 LTR - HSN CODE | Trip | 25 | 25
EELA PHASE-II | WHITE PLATE 12 MODULE- HSN CODE 85381090 | Nos | 1 | 1
EELA PHASE-II | WHITE PLATE 2 MODULE- HSN CODE 85381090 | Nos | 1 | 1
EELA PHASE-II | WHITE PLATE 4 MODULE- HSN CODE 85381090 | Nos | 1 | 1
EELA PHASE-II | WIRELESS MOUSE - HSN CODE 84716060 | Nos | 1 | 1
EELA PHASE-II | WOODEN ELEC BOARD SUNMICA TOP 4" X 4"- HSN CODE 4412 | Nos | 12 | 12
EELA PHASE-II | WOODEN ELEC BOARD TOP SUNMICA 8" X 10"- HSN CODE 4412 | Nos | 114 | 114
EELA PHASE-II | WOODEN FLOORING- HSN CODE 4418 | Sqft | 316.03 | 0